Specifications

**Construction project: …………............................................................................................................................................................................**

**Architect/client: …………............................................................................................................................................................................**

|  |
| --- |
| **Preliminary remarks:** |
| Work is carried out using products from the Minden-based company Triflex GmbH & Co. KG. |
| Compliance with all applicable guidelines is taken into account and required for the different recommended system build-ups using Triflex products. |
| The waterproofing systems within the system build-up with Triflex ProDetail (junctions, details) are covered by an European Technical Approval (ETA) issued by the German approval body for non-regulated construction products and types of construction, the Deutsches Institut für Bautechnik (DIBt), and meet the requirements of the EU’s Construction Products Directive (CE mark) according to ETAG No. 005 in the highest usage category. A General Building Supervisory Authority Test Certificate (PG-FLK) certifies the suitability for use of the detail waterproofing within the system build-up as structure waterproofing on surfaces with an inclination of up to 90° as per MVV TB C 3.28.Use of the system as flame-retardant variant S1 is also certified by a General Building Supervisory Authority Test Certificate.The system build-up meets the requirements of Class OS 8 under DIN V 18026 and the German Committee on Reinforced Concrete’s guidelines for the protection and repair of concrete components OS 8 of the DAfStb Rili SIB 2005 (Repair Guideline). |
| Before the contract is awarded, contractors must prove that they have been trained in the application of Triflex products. Otherwise, instruction by a trainer shall be provided on-site. |
| The quantities contained herein shall be checked on the building site. |
| Billing shall be based on measurements conducted jointly by the contractor and client. |
| The coating system must be applied so as to prevent rainwater from penetrating the system structure in the event that work is interrupted. |
| For disposal of rubble, the cartage and landfill costs shall be included in the individual prices or itemised separately. |
| Concerns about prior work performed by other contractors shall be communicated to the client in writing immediately, ideally before work begins. |
| It is recommended that the bidder view the work site prior to submitting a tender. |
| If alterations or special work not included herein become necessary after work has commenced, detailed notification shall be given before going ahead with such alterations or special work, and the work shall subsequently be billed separately. |
| Unless explicitly stated otherwise, all work shall be regarded as a comprehensive turnkey service, including the supply of all required materials and ancillary services. |
| The contract comprises the following components:* Specifications
* System description and manufacturer’s product information
* DIN 18202 – Tolerances in building construction
* DIN 18531 – Waterproofing of roofs, balconies, loggias and walkways
* DIN V 18026 Surface protection systems for concrete products according to DIN EN 1504-2
* DAfStb directive (Repair Guideline)
* Building code regulations
* Accident prevention regulations
* German Construction Contract Procedures (VOB), Part B

in the versions valid at the time of conclusion of the contract. |

Specifications

|  |
| --- |
| The system build-up must be adapted by the expert planner to meet the project-specific requirements. Detailed tender texts must be created by the planner on his or her own authority. There is no specific project consultation associated with the issue of these draft specifications. The preparation of drafts is a non-obligatory service provided by Triflex. Any legal claims from this service are excluded. |
| System and product characteristics:* Waterproof thick-layer system based entirely on polymethyl methacrylate (PMMA) base
* Joints and details as fleece reinforced waterproofing
* Withstands high mechanical loads
* Seamless
* Cold-applied
* Fast-curing
* Solvent-free
* Full-surface adhesion on a multitude of substrates
* Self-levelling
* Weather-resistant (UV, IR etc.)
* Chemical-resistant
* Structurally crack-bridging
* Conditions for use as per manufacturer's system and product descriptions (e.g. minimum application temperature 0 °C substrate moisture max. substrate moisture 6 % by weight, surface temperature min. 3 °C above dew point)
* Coating tested according to DIN EN 1504
* Complies with DIN 18531-5, Annex A (OS 8)
* Triflex BFS version S1 is flame-retardant (B1 according to DIN 4102 and Class Bfl-s1 according to DIN EN 13501- 1)

For detail waterproofing the following also applies:* Root- and rhizome-resistant according to FLL standards
* Dynamic crack-bridging properties
* Crack-bridging up to 3.0 mm based on PG-FLK
* Fire classification according to EN 13501-5: Class BROOF(t1), BROOF(t2), BROOF(t3), BROOF(t4)
* Fire classification according to EN 13501-1: Class E
* European Technical Approval with CE mark in the highest usage categories (W3, M and S, P1 to P4, S1 to S4, TL4, TH4)
 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **1** |  |  | General |  |  |
|  |  |  |  |  |  |
| 1.1 | Lump sum |  | Building site preparation | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **2** |  |  | **Structure and substrate inspection** |  |  |
|  |  |  |  |  |  |
| 2.1 | Lump sum |  | CavitiesChecking for cavities by tapping the existing surfaces with a hammer, and marking any areas that sound hollow. | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 2.2 | Lump sum |  | Moisture contentDetermining and recording the moisture content of the existing concrete substrate using a suitable gauge (e.g. a CM device). | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 2.3 | Lump sum |  | Evenness and gradientTesting the evenness and gradient of the existing substrate. | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 2.4 | Lump sum |  | Adhesive tensile strengthDetermining and recording the specified adhesive tensile strength of the existing substrate using a suitable gauge (e.g. a Herion unit). | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **3** |  |  | **Substrate pre-treatment**See Triflex BFS system description, Substrate pre-treatment table.Triflex BFS version S1 (flame-retardant) can only be used on the surface of solid mineral substrates with a raw density >1,350 kg/m³ (e.g. concrete, screed and lightweight concrete). |  |  |
|  |  |  |  |  |  |
| 3.1 | \_\_\_\_\_\_ m2 |  | GrindingPreparation of the substrate by grinding with suitable abrasive tools, incl. cleaning, acknowledgement of delivery, off-site transportation and proper disposal of any rubble. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 3.2 | \_\_\_\_\_\_ m2 |  | **Milling**Removal of any contaminated surfaces on the concrete/screed using a suitable milling machine of approx. 5 mm in depth in order to ensure the adhesive property and soundness of the substrate incl. acknowledgement of delivery, off-site transportation and proper disposal of the milled material. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **4** |  |  | **Triflex primer**See Triflex BFS system description, Substrate pre-treatment table. |  |  |
|  |  |  |  |  |  |
| 4.1 | \_\_\_\_\_\_ m2 |  | **Priming of asphalt**Priming with Triflex Cryl Primer 222.Consumption: at least 0.40 kg/m²Application according to the material manufacturer’s technical guidelines. Adhesion to the substrate must be checked on a case-by-case basis. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 4.2 | \_\_\_\_\_\_ m2 |  | **Priming of concrete**e.g. concrete, screed, tiles, wood, lightweight concrete, plaster/masonry.Priming with Triflex Cryl Primer 276.Consumption: at least 0.40 kg/m²Application according to the material manufacturer’s technical guidelines. Adhesion to the substrate must be checked on a case-by-case basis. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 4.3 | \_\_\_\_\_\_ m2 |  | **Priming of composite thermal insulation systems**e.g. on composite thermal insulation systems, resin-modified mortar.Priming with Triflex Pox R 100 incl. dressing with a surplus of quartz sand, size 0.2–0.6 mm. Removing any surplus after curing.Junction height: …… cmConsumption of Triflex Pox R 100: at least 0.30 kg/m²Consumption of quartz sand 0.2–0.6 mm: at least 2.00 kg/m²Application according to the material manufacturer’s technical guidelines. Adhesion to the substrate must be checked on a case-by-case basis. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 4.4 | \_\_\_\_\_\_ m2 |  | **Priming of glass**Priming with Triflex Glass Primer, incl. pre-cleaning of the surface with Triflex Glass Cleaner.Consumption of Triflex Glass Cleaner: at least 0.05 l/m²Consumption of Triflex Glass Primer: approx. 0.05 l/m²Application according to the material manufacturer’s technical guidelines. Adhesion to the substrate must be checked on a case-by-case basis. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 4.5 | \_\_\_\_\_\_ m2 |  | **Priming of metal**e.g. stainless steel, steel and zinc.Priming with Triflex Metal Primer, incl. pre-cleaning of the surface with Triflex Cleaner.Consumption of Triflex Cleaner: at least 0.20 l/m²Consumption of Triflex Metal Primer: approx. 0.08 l/m²Application according to the material manufacturer’s technical guidelines. Adhesion to the substrate must be checked on a case-by-case basis. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **5** |  |  | **Triflex repairs** |  |  |
|  |  |  |  |  |  |
| 5.1 | \_\_\_\_\_\_ m2 |  | **Grouting**e.g. in the event of shrinkage cracks, small areas of damage and uneven areas.Grouting and filling in with Triflex Cryl Paste.Consumption: approx. 1.40 kg/m² per mm layer thicknessApplication according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 5.2 | \_\_\_\_\_\_ m2 |  | **Levelling out**e.g. in the event of larger areas of damage.Levelling out and filling in with Triflex Cryl RS 240.Consumption: approx. 2.20 kg/m² per mm layer thicknessApplication according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 5.3 | \_\_\_\_\_\_ m2 |  | **Scratch coat, mineral substrate or asphalt**Repairing defective spots on the existing mineral substrate or on asphalt using a scratch coat with a Triflex ProFloor base.Triflex ProFloor scratch coat made from 33 kg Triflex ProFloor with the addition of up to 10 kg quartz sand (0.2–0.6 mm), grey finish.Average layer thickness: ……Consumption: at least 2.00 kg/m² per mm layer thicknessApplication according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 5.4 | \_\_\_\_\_\_ m2 |  | **Gradient creation**Creation of a sufficient gradient using Triflex Cryl Level 215.Average thickness: .......... mmConsumption: approx. 2.20 kg/m² per mm layer thicknessApplication according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **6** |  |  | Triflex detail waterproofingCreation of detail waterproofing with Triflex ProDetail incl. Triflex Special Fleece. The Triflex ProDetail waterproofing system has been awarded ETA approval (ETA No. 06/0269) with CE mark in the highest usage categories W3, M and S, P1 to P4, S1 to S4, TL4, TH4, BROOF(t1), BROOF(t2), BROOF(t3), BROOF(t4).Test reports certify the root resistance according to FLL standards and resistance to hailstorm according to DIN EN 13583 for hard and flexible substrates. |  |  |
|  |  |  |  |  |  |
| 6.1 | \_\_\_\_\_\_ m |  | **Wall junction**Waterproofing of the wall junction with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2303) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.2 | \_\_\_\_\_\_ m |  | **Door sill**Waterproofing of the door sill with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(Corresponds to Triflex system drawing BFS-2303) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.3 | \_\_\_\_\_ pc. |  | **Gully**Waterproofing of the gully with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cm,d = ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2305) | \_\_\_\_\_ /pc. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.4 | \_\_\_\_\_\_ m |  | **Gutter**Waterproofing of the gutter inlet with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(Corresponds to Triflex system drawing BFS-2305) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.5 | \_\_\_\_\_ pc. |  | **Settlement joint**Waterproofing of the settlement joint with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cm,d = ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2304) | \_\_\_\_\_ /pc. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.6 | \_\_\_\_\_\_ pc. |  | **Penetration**Waterproofing of the penetration with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cm,d = ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2304) | \_\_\_\_\_ /pc. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.7 | \_\_\_\_\_\_ m |  | **Leading edge with bracket-mounted gutter**Waterproofing of the leading edge with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2306) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.8 | \_\_\_\_\_\_ m |  | **Leading edge with eaves flashing**Waterproofing of the leading edge with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cm.Consumption of ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(Corresponds to Triflex system drawing BFS-2306) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.9 | \_\_\_\_\_\_ m |  | **Leading edge with edge finishing profile**Installation and bonding of the Triflex balcony edge finishing profile with Triflex Cryl Paste.Consumption of Triflex Cryl Paste: approx. 1.40 kg/m² per mm layer thicknessWaterproofing of the leading edge with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2307) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 6.10 | \_\_\_\_\_\_ m |  | **Leading edge with edge finishing profile P 250**Installation and bonding of the Triflex balcony edge finishing profile P 250 with Triflex Cryl Paste.Consumption of Triflex Cryl Paste: approx. 1.40 kg/m² per mm layer thicknessWaterproofing of the leading edge with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 3.00 kg/m²Application according to the material manufacturer’s technical guidelines.(Corresponds to Triflex system drawing BFS-2307) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **7** |  |  | Triflex joint waterproofingCreation of joint waterproofing with Triflex ProDetail incl. Triflex Special Fleece. The Triflex ProDetail waterproofing system has been awarded ETA approval (ETA No. 06/0269) with CE mark in the highest usage categories W3, M and S, P1 to P4, S1 to S4, TL4, TH4, BROOF(t1), BROOF(t2), BROOF(t3), BROOF(t4).Test reports certify the root resistance according to FLL standards and resistance to hailstorm according to DIN EN 13583 for hard and flexible substrates. |  |  |
|  |  |  |  |  |  |
| 7.1 | \_\_\_\_\_\_ m |  | **Construction joint**Waterproofing of the construction joint with Triflex ProDetail incl. Triflex Special Fleece.Triflex Special Fleece strip width: ........... cmConsumption of Triflex ProDetail: at least 0.60 kg/mApplication according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2308) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 7.2 | \_\_\_\_\_\_ m |  | **Settlement joint surface**Waterproofing of the settlement joint with Triflex ProDetail incl. Triflex Special Fleece.Two layers of Triflex Special Fleece, strip width: ........... cmConsumption of Triflex ProDetail: at least 1.20 kg/mApplication according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2309) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 7.3 | \_\_\_\_\_\_ m |  | **Settlement joint – wall junction**Waterproofing of the settlement joint with Triflex ProDetail incl. Triflex Special Fleece.Two layers of Triflex Special Fleece, strip width: ........... cmConsumption of Triflex ProDetail: at least 1.20 kg/mApplication according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2310) | \_\_\_\_\_\_ /m | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **8** |  |  | **Triflex surface coating** |  |  |
|  |  |  |  |  |  |
| 8.1 | \_\_\_\_\_\_ m2 |  | **Surface coating – standard**Coating of the surface with Triflex ProFloor.Consumption: at least 4.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2301) | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 8.2 | \_\_\_\_\_\_ m2 |  | **Surface coating – version S1(flame-retardant)**Coating of the surface with Triflex ProFloor S1.Consumption: at least 4.00 kg/m²Application according to the material manufacturer’s technical guidelines.(See Triflex system drawing BFS-2302) | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **9** |  |  | **Triflex finish** |  |  |
|  |  |  |  |  |  |
| 9.1 | \_\_\_\_\_\_ m2 |  | "Micro Chips" (R 9) surface – standardFinishing of the surface and details with Triflex Cryl Finish 205, dressing of the surface with Triflex Micro Chips.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.2 | \_\_\_\_\_\_ m2 |  | "Micro Chips" (R 9) surface – version S1(flame-retardant)Finishing of the surface and details with Triflex Cryl Finish S1, dressing of the surface with Triflex Micro Chips.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish S1: at least 0.50 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.3 | \_\_\_\_\_\_ m2 |  | "Colour Design" (R 10) surface – standardFinishing of the surface and details with Triflex Cryl Finish 205, dressing of the surface with Triflex Colour Mix, final finish with Triflex Cryl Finish Satin.Triflex Colour Design colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Consumption of Triflex Colour Mix: at least 0.80–1.00 kg/m²Consumption of Triflex Cryl Finish Satin: at least 0.35 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.4 | \_\_\_\_\_\_ m2 |  | "Creative Design" (R 9) surface – standardversion with Triflex Micro ChipsFinishing of the surface and details with Triflex Cryl Finish 205 (joint colour).Joint colour: .......... at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Affixing the Triflex Design Sheet.Tile pattern: ........ at the discretion of the client.Finishing of the surface with Triflex Cryl Finish 205 (surface colour), dressing of the surface with Triflex Micro Chips.Surface colour: ....... at the discretion of the client.Removal of the bonded sheet once the surface has cured.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.5 | \_\_\_\_\_\_ m2 |  | "Creative Design" (R 10) surface – standardversion with Triflex Colour MixFinishing of the surface and details with Triflex Cryl Finish 205 (joint colour).Joint colour: .......... at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Affixing the Triflex Design Sheet.Tile pattern: ........ at the discretion of the client.Finishing of the surface with Triflex Cryl Finish 205 (surface colour), dressing of the surface with Triflex Colour Mix.Surface colour: ....... at the discretion of the client.Removal of the bonded sheet once the surface has cured.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Consumption of Triflex Colour Mix: at least 0.80–1.00 kg/m²Final finish with Triflex Cryl Finish Satin.Consumption: at least 0.35 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.6 | \_\_\_\_\_\_m² |  | "Dressing, fine" (R 11) surface – standardFinishing of the surface and details with Triflex Cryl Finish 205 with quartz sand dressing, size 0.2–0.6 mm.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.50 kg/m²Consumption of quartz sand 0.2–0.6 mm: at least 3.00 kg/m²Finishing with Triflex Cryl Finish 205 a second time, dressing of the surface with Triflex Micro Chips.Consumption of Triflex Cryl Finish 205: at least 0.70 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.7 | \_\_\_\_\_\_m² |  | "Dressing, fine" (R 11) surface –version (S1) (flame-retardant)Finishing of the surface and details with Triflex Cryl Finish S1 with quartz sand dressing, size 0.2–0.6 mm.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish S1: at least 0.50 kg/m²Consumption of quartz sand 0.2–0.6 mm: at least 3.00 kg/m²Finishing with Triflex Cryl Finish S1 a second time, dressing of the surface with Triflex Micro Chips.Consumption of Triflex Cryl Finish S1: at least 0.70 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.8 | \_\_\_\_\_\_ m2 |  | "Dressing, coarse" (R 12) surface – standardDressing of the wet Triflex ProFloor surface coating with quartz sand, size 0.7–1.2 mm.Consumption of quartz sand 0.7–1.2 mm: at least 7.00 kg/m²Finishing of the surface and details with Triflex Cryl Finish 205, dressing of the surface with Triflex Micro Chips.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish 205: at least 0.70 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines.(Not suitable for the Triflex BFS S1 (flame-retardant) version). | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 9.9 | \_\_\_\_\_\_ m2 |  | "Dressing, coarse" (R 12) surface – version S1 (flame-retardant)Dressing of the wet Triflex ProFloor S1 surface coating with quartz sand, size 0.7–1.2 mm.Consumption of quartz sand 0.7–1.2 mm: at least 7.00 kg/m²Finishing of the surface and details with Triflex Cryl Finish S1, dressing of the surface with Triflex Micro Chips.Colour: .................. at the discretion of the client.Consumption of Triflex Cryl Finish S1: at least 0.70 kg/m²Consumption of Triflex Micro Chips: at least 0.05 kg/m²Application according to the material manufacturer’s technical guidelines. | \_\_\_\_\_\_ /m2 | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| **10** |  |  | **Hourly rates** |  |  |
|  |  |  |  |  |  |
| 10.1 | \_\_\_\_\_\_ hrs. |  | Hourly rate of a foreman. | \_\_\_\_\_\_ /hr. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 10.2 | \_\_\_\_\_\_ hrs. |  | Hourly rate of a skilled trade worker. | \_\_\_\_\_\_ /hr. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
| 10.3 | \_\_\_\_\_\_ hrs. |  | Hourly rate of an assistant. | \_\_\_\_\_\_ /hr. | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **11** |  |  | **Materials** |  |  |
|  |  |  |  |  |  |
| 11.1 | \_\_\_\_\_\_ kg |  | Material consumption upon proof. | \_\_\_\_\_\_ /kg | Unit price |
|  |  |  |  |  |  |
| **12** |  |  | **Disposal** |  |  |
|  |  |  |  |  |  |
| 12.1 | Lump sum |  | Disposal of all waste and hazardous waste materials in accordance with the current applicable laws and implementing regulations. | Lump sum | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
|  |  |  | Net total: |  |  |
|  |  |  |  |  |  |
|  |  |  | Statutory VAT at \_\_\_\_% |  | \_\_\_\_\_\_\_\_\_ |
|  |  |  |  |  |  |
|  |  |  | Gross total: |  |  |